Water Resource Engineering Illustrations Using Excel

David H. Huddleston, Ph.D, P.E.

## Abstract

Excel spreadsheet solutions are presented and discussed for typical illustrations used in undergraduate water resources engineering curricula. Examples include variations of the three-reservoir problem and water distribution networks. The spreadsheet solutions, built upon commonly available technology, are presented as a straightforward alternative to solution techniques that utilize equation solvers, mathematics software packages, or scientific programming languages. The use of Excel to solve the governing system of nonlinear, algebraic equations enables the student to allocate more of their time to develop an understanding of the basic concepts that govern complex engineering systems.

# Introduction

As an applied science, there exists a natural tension between the study of fundamental scientific theory and instruction in the application of analysis and design methodologies within undergraduate engineering curricula. Most engineering courses are structured to emphasize the relevant physical, chemical and biological processes that are then reinforced by studying specific problem solving skills applied to systems of engineering interest. In the area of water resources engineering, analysis commonly results in non-linear differential or algebraic equations or systems of equations. Consequently, the level of application complexity and realism introduced to undergraduates is often limited by students’ computational capability. Instructors must diligently balance the need to emphasize the engineering system physics versus instruction in numerical methods used to solve resulting mathematical equations. Student comprehension of basic concepts that govern complex engineering systems is often impeded by their ability to master archaic computational skills.

Computer hardware and analysis software are readily available to most engineering students. The analysis and simulation tools available are applicable to water resources systems at levels of engineering complexity that easily exceed undergraduate instructional requirements. One key to enrichment of undergraduate water resources instruction is to utilize such technology to improve the student’s understanding of complex engineering systems. It is not worthwhile to increase technology utilization just because the technology is available and interesting but utilizing technology to improve instructional capability is significant. A variety of software tools including standard spreadsheet applications, equation solvers, and sophisticated simulation software can be applied to achieve this objective.

Effective instruction in hydraulic design and piping system analysis has been the subject of several recent publications. The December 2001 issue of the Journal of Hydraulic Engineering was devoted to the topic of teaching hydraulic design. A common theme among many of these articles was a desire to increase the level of realism associated with engineering systems introduced. Jewell (2001) discussed the use of a commercial equation solver to facilitate hydraulic design instruction. Open-channel flow hydraulics illustrations that included uniform flow and critical flow computations are discussed in addition to an interesting set of illustrations of water distribution systems. The water distribution system variations include multiple fixed-grade nodes and pumping system components. Weiss and Gulliver (2001) discussed the use of spreadsheets to analyze various hydraulic design projects.  They illustrated that using the spreadsheet as a tool to analyze practical engineering problems not only teaches valuable engineering analysis skills but also enhances students’ computer skills and helps prepare them for the challenges that they will face professionally. Hodge and Taylor (2002) presented a set of Mathcad procedures applied to analyze various piping system applications. The Mathcad procedures provided a consistent framework for analyzing and solving common piping-system applications. Huddleston (2002) discussed the use of spreadsheet tools to introduce students to fundamental concepts of computational fluid dynamics by using an illustration from open-channel hydraulics. Whiteman and Nygren (2000) provided an interesting perspective on maintaining an appropriate balance between theory and application necessary to effectively integrate mathematical software into engineering education.

This study examines the use of Excel, a commonly available spreadsheet package, to solve several applications that are normally introduced in an undergraduate water resources curriculum. Illustrations include variations of the three-reservoir problem and water distribution networks. The primary course objectives and the physical principles are unaltered but use of this technology is an efficient way to enable undergraduate students to solve a relatively complex engineering application that requires the solution of nonlinear systems of equations. The pervasive access to spreadsheet software and student familiarity with the software, commonly prior to college enrollment, enables students to analyze complex engineering systems without being forced to learn additional software tools.  Obviously, the instructor retains the prerogative to focus upon numerical analysis concepts or additional software tools but that is not a requirement.

## BACKGROUND

A one-dimensional energy and mass balance describes the fundamental physical processes in many engineering systems studied in the first undergraduate course in water resource engineering. This includes the hydraulic processes that govern pressurized pipe flow and open-channel flow of incompressible fluids. The analysis of such engineering systems invariably requires the student to solve a system of nonlinear, algebraic equations. Illustration of these principles to specific engineering systems has long been standard material in popular textbooks.

Over the years, clever solution techniques have been developed to enable manual solution to illustrative examples. Such illustrations include (1) branching pressurized pipe flow between three fixed energy-grade reservoirs, (2) pressurized water distribution networks, and (3) gradually varied open-channel hydraulics. Each of these illustrations is analyzed through a one-dimensional energy and mass balance and application of clever solution techniques. However, students often become engrossed with trying to master the mechanics of the solution techniques to the detriment of the primary mission, which is to develop understanding of the overall engineering system.

## EXAMPLE 1: BRANCHING PIPE FLOW

Determination of the flow rates between three reservoirs, Figure 1, is often used as a first illustration of branching pipe flow. Applying the one-dimensional energy equation from each reservoir to the common junction and enforcing mass conservation at the junction can minimize the computational burden associated with this solution (Mays, 2001).

Figure 1: Three-reservoir system schematic.

Consider the flow distribution of water between the three reservoirs illustrated in Figure 1. The Hazen-Williams model is used to approximate friction losses and minor energy losses are neglected relative to friction loss. Applying the one-dimensional, incompressible, conservation of energy equation between each fixed grade node and the network junction and assuming that water flows out of reservoir R-1 and into reservoirs R-2 and R-3 yields:

|  | (1) |
| --- | --- |
|  | (2) |
|  | (3) |

In the preceeding, the absolute value of the volumetric flow rate is applied to facilitate flow reversal computations. Conservation of mass applied at the common junction yields:

|  | (4) |
| --- | --- |

If the assumed flow directions are correct, equations 1-4 can be combined to form a single nonlinear, algebraic equation that can be solved for the junction energy grade, EGLJ1, as:

|  | (5) |
| --- | --- |

Such an approach allows the problem to be reduced to the solution of a single nonlinear algebraic equation (5) for the junction energy head, EGLJ1, followed by determination of flow rates through back substitution in equations 1-3  (Mays 2001). Although this approach is clever and amenable to manual solution techniques, the technique tends to obscure the fundamental concept of energy conservation between fixed grade nodes. Students tend to focus upon the development and solution of the composite equation (5), which represents a conglomeration of energy and mass conservation to the detriment of their global understanding of the problem physics.

A modern spreadsheet program can be used to obtain a direct solution to the resulting conservation statements providing a positive reinforcement of the problem physics and developing a foundation for the subsequent study of more complex pipe networks. As an illustration, consider the following variation to the preceding example. As a numerical example, assume that all pipes are made from riveted steel with reservoir elevations, pipe characteristics, and assumed positive flow directions as indicated in Figure 1. Pipeline data is provided in Table 1.

Table 1: Pipeline data for example 1.

| Pipe Number [] | Diameter (inches) | Length (feet) | Hazen-Williams Roughness Coefficient (Ch) |
| --- | --- | --- | --- |
| [1] | 24 | 3000 | 130 |
| [2] | 18 | 1000 | 130 |
| [3] | 16 | 4000 | 130 |

Applying conservation of energy between the fixed grade nodes results in

|  | (6) |
| --- | --- |

|  | (7) |
| --- | --- |

Equations 4, 7 and 8 comprise a system of three nonlinear, algebraic equations for the three unknown flow rates, Q1, Q2, and Q3. The Excel function Solver (Gottfried, 2000) is ideal for solving small nonlinear systems of equations such as this. The student merely needs to apply the function after defining the nonlinear system as one equation plus two constraints that are solved for the unknown flow rates. The embedded solution algorithm (Newton’s method variant) is robust and will converge to a solution if the user provides a reasonable initial guess for the unknowns.

Students’ prior familiarity with spreadsheet applications is a significant advantage to this approach. It is straightforward for students to associate a spreadsheet cell location with each of the equations that must be satisfied. For example in the Excel formula sheet depicted in Figure 2, cells C12, C13 and C16 correspond to equations 6, 7, and 4, respectively.

|  | A | B | C | D | E | F |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Pipe | Upstream Node | Downstream Node | Diameter (inches) | Length (feet) | C |
| 2 | [1] | R1 | J1 | 24 | 3000 | 130 |
| 3 | [2] | R2 | J1 | 18 | 1000 | 130 |
| 4 | [3] | R3 | J1 | 16 | 4000 | 130 |
| 5 |  |  |  |  |  |  |
| 6 | Reservoir | Elevation (ft) |  |  |  |  |
| 7 | R1 | 100 |  |  |  |  |
| 8 | R2 | 60 |  |  |  |  |
| 9 | R3 | 0 |  |  |  |  |
| 10 |  |  |  |  |  |  |
| 11 | Conservation of Energy |  |  |  |  |
| 12 |  | R1-R2 | =(-B7+B8)+I2+I3 |  |  |  |
| 13 |  | R1-R3 | =(-B7+B9)+I2+I4 |  |  |  |
| 14 |  |  |  |  |  |  |
| 15 | Conservation of Mass |  |  |  |  |
| 16 |  | Junction J1 | =G2-G3-G4 |  |  |  |

|  | G | H | I |
| --- | --- | --- | --- |
| 1 | Q (cfs) | K | Friction Loss KQ1.85 |
| 2 | 28.129 | =4.73*E2/((F2^1.85)*((D2/12)^4.87)) | =H2*G2*(ABS(G2))^0.85 |
| 3 | -14.545 | =4.73*E3/((F3^1.85)*((D3/12)^4.87)) | =H3*G3*(ABS(G3))^0.85 |
| 4 | -13.584 | =4.73*E4/((F4^1.85)*((D4/12)^4.87)) | =H4*G4*(ABS(G4))^0.85 |

Figure 2: EXCEL formula sheet.

Students can readily identify the correspondence between cell C12 and energy conservation between fixed grade nodes R-1 and R-2; cell C13 and energy conservation between fixed grade nodes R-1 and R-3, and cell C16 and mass conservation at junction J-1. For the problem data presented, the calculated volumetric flow rates in each pipe are Q1=28.1 cfs, Q2=14.5 cfs, and Q3=13.6 cfs.

## EXAMPLE 2: NETWORK PIPING SYSTEM

Most engineering textbooks use the Hardy-Cross technique as an initial introduction to the analysis of network piping systems. The physics of piping networks - conservation of mass coupled with conservation of energy - is a natural extension of the previous illustration and is easily understood by students. Conversely, students often have difficulty understanding the nuances of the Hardy-Cross technique, particularly the update strategy associated with pipes on loop boundaries. Introduction of Hardy-Cross tends to impose an unnecessary source of confusion to students since Hardy-Cross is merely a numerical algorithm for solving the system of equations resulting from water distribution analysis. Introduction of the particular solution algorithm does not improve the students’ understanding of the analysis, design, and operation of a water distribution system. Due to the implementation complexity, most illustrations are simplified to replace fixed grade nodes with the less realistic approximation of specified inflows and are limited to small systems comprised of two or three closed loops. The technique described earlier utilizing Excel can easily be extended to the analysis of network piping systems in order to enhance the students’ understanding of the physical principles and to provide greater realism within academic applications.

As an illustration, consider the hydraulic network described in Figure 3, which is a variation of the network presented by Wood and Charles (1972). The example is modified from the original reference by replacing the specified inflows with fixed grade nodes to provide an additional level of problem realism. All piping materials are assumed to be cast iron. Specified junction demands and the assumed positive flow direction is indicated on the figure. The Darcy-Weisbach friction model is applied throughout subject to the Swamee and Jain (1976) approximation to the friction factor. The kinematic viscosity of water is prescribed as 1.41e-5 ft2/sec at fifty degrees Fahrenheit. Reservoir R-1 is at an elevation twelve feet above the elevation of reservoir R-2. Pipeline data is provided in Table 2.

This example contains twelve nodes and eight loops which exceeds the usual expectations of a class assignment via manual Hardy-Cross calculations. Students could be required to develop a computer program to solve the hydraulic network but that would divert the course focus away from the central physical principles. Based upon the linear theory method, the piping network can be analyzed by developing a system of equations comprised of conservation of mass enforced at each of the twelve junctions, conservation of energy for each of the eight network loops, and conservation of energy between the two fixed grade nodes. This yields a system of twenty-one nonlinear, algebraic equations to solve simultaneously for the twenty-one unknown volumetric flow rates. Wood and Charles (1972) and Mays (2001) summarize the complete system of equations for this problem subject to specified inflow rates in lieu of the indicated fixed grade nodes. Herein, representative equations are summarized for conservation of mass, conservation of energy applied to one closed loop and conservation of energy applied between the fixed grade nodes.

Figure 3:  Hydraulic network for example 2.

Table 2: Pipeline data for example 2.

| Pipe Number [] | Diameter (inches) | Length (feet) | Darcy-Weisbach Relative Roughness Factor Roughness (feet) | Resulting Flow Rate (gpm) |
| --- | --- | --- | --- | --- |
| [1] | 12 | 1000 | .00085 | 879.8 |
| [2] | 8 | 1000 | .00085 | 631.6 |
| [3] | 8 | 1200 | .00085 | 260.5 |
| [4] | 8 | 2000 | .00085 | -165.0 |
| [5] | 8 | 2800 | .00085 | -138.7 |
| [6] | 8 | 1100 | .00085 | 198.2 |
| [7] | 8 | 1000 | .00085 | 235.7 |
| [8] | 8 | 800 | .00085 | 152.1 |
| [9] | 8 | 800 | .00085 | 758.6 |
| [10] | 6 | 1300 | .00085 | 6.5 |
| [11] | 6 | 1000 | .00085 | 171.0 |
| [12] | 10 | 1100 | .00085 | -120.3 |
| [13] | 10 | 1000 | .00085 | -258.0 |
| [14] | 6 | 1800 | .00085 | 84.6 |
| [15] | 6 | 1100 | .00085 | 248.1 |
| [16] | 6 | 1800 | .00085 | -37.6 |
| [17] | 10 | 1200 | .00085 | 371.1 |
| [18] | 6 | 1800 | .00085 | 63.2 |
| [19] | 6 | 1300 | .00085 | -74.5 |
| [20] | 36 | 100 | .00085 | 1638.4 |
| [21] | 36 | 100 | .00085 | 561.6 |

Conservation of mass must be enforced at each of the twelve pipe junctions. For example, conservation of mass applied to junction, J-9, yields

|  | (8) |
| --- | --- |

Conservation of energy applied to representative loop (1) yields:

|  | (9) |
| --- | --- |

Similarly, conservation of energy applied between the two fixed grade nodes yields:

|  | (10) |
| --- | --- |

The remaining node equations are comparable to (8) and the remaining loop equations are comparable to (9). The remaining equations can be obtained from the cited references. As in example 1, the Excel Solver function can readily solve the assembled system of equations for the unknown flow rates in each pipe. The Excel formula sheet is a direct extension of that presented for example 1 in Figure 2 and is not included herein. The resulting network distribution of flow rates is included in Table 2.

## CONCLUSIONS

The examples discussed herein illustrate the use of a commonly available spreadsheet package as a tool to facilitate instruction in water resource engineering. The Excel solution procedures are presented in a manner that is consistent with the governing conservation statements. This, coupled with students’ pre-existing familiarity with the spreadsheet package, enables students to focus on understanding of the engineering system rather than development of computational skills.

Computer technology plays a significant role in engineering education. Determining how and at what level to introduce technology within the curricula is a significant challenge to educators. A productive role exists for scientific calculators, equation solvers, mathematics packages, spreadsheet applications, and commercial analysis software. The selection of the appropriate tool is dependent upon the course context and available technology infrastructure. The Excel illustrations are presented as a bridge that enables students to analyze more realistic applications while still requiring enough manual development of equations to reinforce the underlying engineering principles.

## NOMENCLATURE

| A | Flow cross-sectional area |
| --- | --- |
| C | Hazen-Williams roughness coefficient |
| D | Pipe diameter (inches) |
| EGL | Energy grade (feet) |
| f | Darcy-Weisbach friction factor |
| g | Gravitational constant |
| L | Pipe length (feet) |
| Q | Pipe volumetric flow rate (cfs) |

# References

Gottfried, B. S. (2000). Spreadsheet Tools for Engineers: EXCEL 2000Version, McGraw-Hill, Inc., New York.

Hodge, B. K. and Taylor, R. P. (2002) “Piping-System Solutions Using Mathcad,”Computer Applications in Engineering Education, American Society of Engineering Education (ASEE), Washington, D.C.

Huddleston, D. H. (2002), “Spreadsheet Tools Utilized To Introduce Computational Field Simulation Concepts to Undergraduate Engineering Students,” Computers in Education Journal, American Society of Engineering Education (ASEE), Washington, D.C.

Jewell, T. K. (2001), “Teaching Hydraulic Design Using Equation Solvers,” Journal of Hydraulic Engineering, American Society of Civil Engineers (ASCE), Washington, D.C.

Mays, L. W. (2001), Water Resources Engineering, John Wiley & Sons, Inc., New York.

Swamee, P. K. and Jain, A. K. (1976), “Explicit Equations for Pipe-Flow Problems”, Journal of Hydraulic Division, American Society of Civil Engineers (ASCE), Washington, D.C.

Weiss, P. T. and Gulliver, J. S. (2001), “What Do Students Need in Hydraulic Design Projects?,” Journal of Hydraulic Engineering, American Society of Civil Engineers (ASCE), Washington, D.C.

Whiteman, W. and Nygren, K. P., “Achieving the right Balance: Properly Integrating Mathematical Software Packages into Engineering Education”, Journal of Engineering Education, American Society of Engineering Education (ASEE), Washington, D.C.

Wood, D. and Charles, C. (1972), “Hydraulic Network Analysis Using Linear Theory,” Journal of Hydraulics Division, American Society of Civil Engineers (ASCE), Washington, D.C.

# Footnotes

Associate Professor, Department of Civil Engineering, Mississippi State University, Mississippi State, MS 39762. E-mail: hudd@engr.msstate.edu.